Module :1

Problem Statement, B. Tech Bioengineering

Prepared by PRN: 26-30

Date: 18-09-2026

PROBLEM  STATEMENT:

Wearable devices frequently collect noisy heart rate data due to user movement, leading

to inaccurate readings and false alarms. Wearers require a reliable system that filters

motion interference in real-time, accurately tracks pulse peaks, and instantly alerts them

to critical cardiac abnormalities such as sudden spikes or drop.

DECOMPOSITION:

1. Data Capture: Read raw optical (PPG) light reflections from skin.

2. Signal Cleaning: Filter out physical motion noise (walking, shaking).

3. Pulse Detection: Calculate peak-to-peak intervals to determine heart rate.

4. Threshold Check: Compare live heart rate against safe parameters to trigger

alerts.

PATTERN RECOGNITION:

1. Wrist movements create sharp, high-frequency noise spikes in PPG data.

2. Normal heartbeats follow steady, rhythmic intervals; abnormal spikes or drops

break this rhythm predictably.

ABSTRACTION:

1. Strip away ambient noise, skin tone variables, and watch aesthetic/hardware

details.

2. Focus solely on a clean, single stream of beat timestamps over time.

ALGORITHMIC THINKING:

1. Listen: Read the light sensor on your wrist continuously.

2. Clean: Wash away noise caused by your arm swinging.

3. Count: Find each heartbeat and calculate your beats per minute ($\text{BPM}$).

4. Check: abnormally high (over 120) or low (under 40) while sitting still

5. Act: If yes for 30 seconds straight, sound an emergency alert. Otherwise, go back

to Step.

CONCLUSION:

By applying computational thinking—breaking down PPG signal processing, filtering out

health devices can reliably transform raw sensor data into life-saving, real-time health

alerts.

Canva link:

https://canva.link/sw1non6tixdw9ta